## Slide 1: Introduction to Capacity in Cloud
  Goranka Bjedov

## Slide 2: What is Capacity?
Definition from engineering dictionary:
The ability to contain and hold something.
Maximum production attainable under normal conditions. With regard to normal conditions, the company’s operating practices are to be followed with respect to the use of production facilities, ovetime, work shifts, holidays, etc.
Notes: Definition from engineering dictionary (www.engineering-dictionary.org):
1. The ability to contain and hold something.
2. Maximum production attainable under normal conditions. With regard to normal conditions, the company's operating practices are to be followed with respect to the use of production facitliies, overtime, work shifts, holidays, etc.

## Slide 3: What is Capacity Planning?
The process of forecasting future resource requirements and ensuring that sufficient resources are available at every point in time to meet those requirements.
Notes: Which resources?
This is an interesting question. Depending on the size of the problem/company you are working with, the answer will vary (a lot). For small companies, probably the best approach is to lease everything from a large resource provider. There is a number of different providers available, and you should investigate all the options (hardware AAS, platform AAS, software AAS) and move with whichever one seems most reasonable. (Ideally, you will investigate and deploy multiple options and see how well they perform for you.)
But, eventually, you will become large enough that it will make sense to rent some space in a data center and start purchasing and maintaining your own hardware. Typically, in this space, the only resource you are interested in is servers. you do not need to worry about much else, you need to predict how many servers will be required in the near future (which, in this case, can be something 3 - 6 months ahead) and purchase and provision those servers. Typical scale we are discussing here is on the order of tens of hundreds of servers, and in most cases, these servers will be of 2 - 3 different types (think special machines for storage, special machines for compute, etc.)
Provided everything goes well, you will find yourself in a situation where you will want to control and develop all of your infrastructure, and in that case, the list of resources you need to start thinking about will start growing, and the timelines for those resources will have to be adjusted accordingly. On the opposite side of spectrum of a small startup are large technology companies with complex scaling issues and large financial, healthcare, etc. corporation which usually deal with very complex software and legacy issues. Resources, in that case include:
- servers (timeline: 3 - 6 months ahead minimum, 1 - 2 years ahead for hardware development planning)
- network (timeline: 1 year ahead minimum)
- data centers (timeline: 5 years ahead minimum)

## Slide 4: Capacity Planning
Answers questions like:
  How many machines and with which configurations are needed?
  How many datacenters, clusters, racks are needed?
  What is the layout of datacenters and clusters?
  How much power is needed?
  What are networking needs:
    Between clusters
    Between data centers
    Between racks
Notes: So, how do you plan 5 years ahead? How do you plan 6 months ahead and what do you need to accomplish that goal? Let's take a high-level look at what is involved and the steps we might take to accomplish this task.

## Slide 5: Capacity Planning, cont.
What do you need to take into account:
  User growth
  Usage growth
  Product growth
  Performance degradations
  Hardware improvements
Design considerations:
  No single point of failure
  Graceful degradation of service under unpredictable unfavorable conditions (attack, power failure, etc.)
  Understand risks and potential losses

## Slide 6: Capacity Planning, cont.
Other considerations:
  What happens when the machines become too old?
  What happens when costs of electricity (or something else) change for different data centers?
  How do you plan for a year ahead when you fundamentally don’t know what will happen?
Jason Fink et al. “Linux Performance Tuning and Capacity Planning”

## Slide 7: Putting it all together
You have all the information:
  You know what you have right now (machines, data centers, users, services, etc.)
  You have predictions for the future (1 year, 3 – 5 years)
  You can prepare the most likely plan, the optimistic plan and the worst case scenario plan
Important:
  Document all assumptions
  All predictions are clearly communicated to all relevant teams
  Analyze all misses as quickly as possible and create a feedback loop
Notes: Step 1: Have accurate information about current situation
a) existing infrastructure:
- how many datacenters do we have, what are their locations, what are their power constraints and what are the timelines on each one of those (how much power will we have at which point in time)
- what are the timelines and durations of major datacenter operations (network retrofits, power retrofits, anything else)
- how many servers do we have in these locations and what kinds of servers are these (age + type)
- when are these servers projected to reach end-of-life and what are the possibilities for extending these (if needed)
b) product information:
- how many major products do we have and how many users does each of these products support
Step 2: Understand future demands
a) what is planned for future product growth, feature growth and engagement growth
b) what are predictions on user growth (make sure you verify these very, very carefully!) for each product
Step 3: Create infrastructure plan that meets the demands identified in Step 2
a) prepare the most likely plan, the optimistic plan and the worst case scenario plan
b) publish these predictions and keep tracking and revising on a regular basis
- what is the distribution of users on the infrastructure
- what kind of load do the users put on the infrastructure

## Slide 8: Putting it all together, cont.
Creating a plan:
  Based on predictions, we can estimate capacity needs in a year (servers, datacenters, power)
  We know how many servers and datacenters need to be decommissioned
  The difference is what needs to be procured, built, installed, provisioned, tested, etc.
  Sensible timeline: need a datacenter first, then a cluster, then power, then servers/racks, then provisioning, then test
  Calculate the reverse timeline – from when you need the capacity count backwards to when things need to happen
Notes: Simple, right? It is not like we need a bit more information about Step 3, at all. So, here it goes:
1. Based on predictions, we can estimate capacity needs in a year (servers -> data centers -> power)
2. Based on current situation, we know how many servers are reaching end of life and how many data centers need to be decommissioned or retrofitted
3. The difference is what needs to be procured, built, installed, provisioned, tested, etc.
4. Timelines need to be sensible: datacenter first, then power, then servers/racks, then provisioning, then test
5. Calculate the reverse timeline: from the predicted time when capacity is needed back to the time when different things need to happen
6. Allow plenty of time for testing, specially if something is happening under new conditions (new location, new hardware, new supplier, etc.)
7. Identify any problems in the timeline
8. Identify as many solutions for each of the problems, rank the solutions based on cost and risk
9. Finalize your plan for future capacity, and publish expected accuracy rates for each stage
10. Keep verifying your predictions against the future needs.
11. Create alternate plans for failure cases in each step and understand implications
12. Leave room for errors, but keep catching, fixing and documenting these going forward.

## Slide 9: Putting it all together, cont.
  Allow plenty of time to test, specially if the configuration is new
  Identify any problems in the timeline
  Identify as many solutions as realistically possible and their respective costs
  Finalize realistic plan for capacity in the future
  Verify your predictions against past data
  Create alternate plans for cases of failure in each step and understand implications
  Leave room for errors

## Slide 10: Final Thoughts
  Developers are experts at writing code, creating products and maintaining both, but very rarely do they specialize in performance analysis/tuning or capacity planning.
  People are naturally risk averse and too optimistic when it comes to estimating their product’s future – on average, they overestimate their capacity needs.
  The really hard part of capacity team’s job is people part: getting everybody involved on the same page about what they will need (as opposed to what they would like.)